## Data Summary
|  | VMFRIENDS Parameters | [5 empty] | FRIENDS Measurements | [5 empty] | Vape Info.
| Vape | Number of Puffs | Puff Time (s) | Total Puff Time (s) | Interpuff Time (s) | Puff Volume (mL) | Puff Flow Rate (mL/s) | Puffs Counted | Puff Count RE (puff-weighted) | Puff Count RE ± 95% CI (ratio estimator) | Total Puff Time (s) | Puff Time RE (puff-time-weighted) | Puff Time RE ± 95% CI (ratio estimator) | Thermistor Used (Y/N) | Thermistor Needed (Y/N) | Characteristics |  | n (sessions) | Σ Delivered Puffs | Σ Delivered Puff Time (s)
1 | Adjust Myflavor | 440 | 3 | 1320 | 18 | 120 | 40 | 440 | 0% | 0% | 1437.6144 | 8.91% | 0.5524% | Y | N | Closed System; Rechargeable |  | 11 | 440 | 1320
2 | Artery CL6 | 433 | 3 | 1299 | 18 | 120 | 40 | 403 | 6.928% | 9.951% | 1311.6472 | 9.196% | 10.11% | Y | N | Closed System; Rechargeable |  | 7 | 433 | 1299
3 | Breeze Pro | 400 | 3 | 1200 | 18 | 120 | 40 | 397 | 0.75% | 2.082% | 1241.0303 | 3.419% | 1.373% | Y | Y | Closed System; Non-rechargeable | ` | 5 | 400 | 1200
4 | EBCreate BC 5000 | 450 | 3 | 1350 | 18 | 120 | 40 | 446 | 0.8889% | 1.304% | 1358.2995 | 1.294% | 0.8055% | Y | Y | Closed System; Rechargeable |  | 5 | 450 | 1350
5 | Elf Bar BC5000 | 448 | 3 | 1344 | 18 | 120 | 40 | 448 | 0% | 0% | 1380.2581 | 2.884% | 1.585% | Y | Y | Closed System; Rechargeable |  | 6 | 448 | 1344
6 | Funky Republic ti7000 | 560 | 3 | 1680 | 18 | 120 | 40 | 558 | 0.7143% | 1.311% | 1794.0507 | 6.789% | 2.411% | Y | Y | Closed System; Rechargeable |  | 7 | 560 | 1680
7 | Fzzybar X20000 | 530 | 3 | 1590 | 18 | 120 | 40 | 490 | 7.547% | 12.52% | 1582.4889 | 6.862% | 7.627% | Y | Y | Closed System; Rechargeable |  | 5 | 530 | 1590
8 | Geek Bar Pulse | 400 | 3 | 1200 | 18 | 120 | 40 | 403 | 0.75% | 1.388% | 1252.7102 | 4.393% | 0.7203% | Y | Y | Closed System; Rechargeable |  | 5 | 400 | 1200
9 | Hyde IQ5000 | 536 | 3 | 1608 | 18 | 120 | 40 | 505 | 6.157% | 5.701% | 1450.9639 | 11.49% | 7.043% | Y | Y | Closed System; Rechargeable |  | 8 | 536 | 1608
10 | Hyde N-bar | 240 | 3 | 720 | 18 | 120 | 40 | 236 | 1.667% | 7.171% | 762.3135 | 8.956% | 9.379% | Y | Y | Closed System; Rechargeable |  | 3 | 240 | 720
11 | Hyde Rebel | 275 | 3 | 825 | 18 | 120 | 40 | 271 | 2.182% | 2.86% | 855.3565 | 3.68% | 2.968% | Y | Y | Closed System; Rechargeable |  | 5 | 275 | 825
12 | Juul | 185 | 3 | 555 | 18 | 120 | 40 | 185 | 0% | 0% | 550.9164 | 0.7358% | 1.713% | N | N | Pod; Non-refillable |  | 3 | 185 | 555
13 | Kangvape Speedy Beast X | 360 | 3 | 1080 | 18 | 120 | 40 | 357 | 1.389% | 2.562% | 1062.3376 | 3.305% | 3.521% | Y | N | Closed System; Rechargeable |  | 9 | 360 | 1080
14 | Lost Angel Sphere 35K | 480 | 3 | 1440 | 18 | 120 | 40 | 480 | 0% | 0% | 1481.2303 | 2.863% | 0.1482% | Y | N | Closed System; Rechargable |  | 6 | 480 | 1440
15 | Lost Mary MT15000 | 455 | 3 | 1365 | 18 | 120 | 40 | 449 | 2.637% | 1.561% | 1395.8214 | 2.586% | 2.101% | Y | Y | Closed System; Rechargeable |  | 6 | 455 | 1365
16 | Mr Fog Aura | 1049 | 3 | 3147 | 18 | 120 | 40 | 1013 | 5.338% | 6.745% | 3210.8442 | 10.81% | 6.592% | Y | Y | Closed System; Rechargeable |  | 11 | 1049 | 3147
17 | MR Fog Nova | 1000 | 3 | 3000 | 18 | 120 | 40 | 1004 | 0.6% | 0.5395% | 3249.2353 | 8.308% | 0.8124% | Y | Y | Closed System; Rechargeable |  | 25 | 1000 | 3000
18 | Njoy Ace | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 0% | N/A (n=1) | 285.3583 | 18.9% | N/A (n=1) | N | N | Pod; Non-refillable |  | 1 | 80 | 240
19 | North 5000 Disposable | 240 | 3 | 720 | 18 | 120 | 40 | 240 | 0% | 0% | 772.4195 | 7.28% | 0.6853% | Y | N | Closed System; Rechargeable |  | 6 | 240 | 720
20 | Offstamp SW 9000 | 600 | 3 | 1800 | 18 | 120 | 40 | 604 | 0.6667% | 0.8218% | 1952.5325 | 8.474% | 0.9089% | Y | Y | Pod; Non-refillable |  | 15 | 600 | 1800
21 | Offstamp X cube | 330 | 3 | 990 | 18 | 120 | 40 | 293 | 11.21% | 8.993% | 880.5201 | 14.66% | 7.911% | Y | Y | Pod; Non-refillable |  | 6 | 330 | 990
22 | RAZ DC25000 | 502 | 3 | 1506 | 18 | 120 | 40 | 497 | 1.394% | 2.291% | 1555.7735 | 3.982% | 1.176% | Y | Y | Closed System; Rechargeable |  | 7 | 502 | 1506
23 | Tyson Heavyweight | 600 | 3 | 1800 | 18 | 120 | 40 | 601 | 1.167% | 0.7149% | 1951.3244 | 8.407% | 0.9329% | Y | Y | Closed System; Rechargeable |  | 15 | 600 | 1800
24 | Viho TRX 50k | 826 | 3 | 2478 | 18 | 120 | 40 | 818 | 0.9685% | 1.414% | 2636.1054 | 6.38% | 1.484% | Y | Y | Closed System; Rechargeable |  | 8 | 826 | 2478
27 | Fogger Switch Pro | 400 | 3 | 1200 | 18 | 120 | 40 | 260 | 35% | 58.51% | 797.3545 | 33.55% | 60.01% | Y | Y | Pod; Non-refillable |  | 4 | 400 | 1200
28 | Juul 2 | 240 | 3 | 720 | 18 | 120 | 40 | 1 | 99.58% | 1.793% | 0.4032 | 99.94% | 0.2409% | N | N | Pod; Non-refillable |  | 3 | 240 | 720
29 | KangerTech SUBOX | 650 | 3 | 1950 | 18 | 120 | 40 | 150 | 76.92% | 5.279% | 385.3958 | 80.24% | 11.53% | Y | N | Closed System; Rechargeable |  | 5 | 650 | 1950
30 | LostMary OS5000 | 560 | 3 | 1680 | 18 | 120 | 40 | 326 | 41.79% | 15.76% | 788.0675 | 53.09% | 22.34% | Y | N | Closed System; Rechargeable |  | 7 | 560 | 1680

## CI Method
Confidence intervals for FRIENDS accuracy: method comparison
puff-weighted ratio estimator with sessions as clusters (current Data Summary K/N).
Vape | n sessions | Σ puffs delivered | Min session size | Max session size | count WMAPE | ±95% CI | Signed count bias | Signed ±95% CI | time WMAPE | ±95% CI | Signed time bias | Signed ±95% CI
Adjust Myflavor | 11 | 440 | 40 | 40 | 0% | 0% | 0% | 0% | 8.91% | 0.5524% | 8.91% | 0.5524%
Artery CL6 | 7 | 433 | 16 | 140 | 6.928% | 9.951% | -6.928% | 9.951% | 9.196% | 10.11% | 0.9736% | 11.26%
Breeze Pro | 5 | 400 | 80 | 80 | 0.75% | 2.082% | -0.75% | 2.082% | 3.419% | 1.373% | 3.419% | 1.373%
EBCreate BC 5000 | 5 | 450 | 70 | 100 | 0.8889% | 1.304% | -0.8889% | 1.304% | 1.294% | 0.8055% | 0.6148% | 1.666%
Elf Bar BC5000 | 6 | 448 | 48 | 80 | 0% | 0% | 0% | 0% | 2.884% | 1.585% | 2.698% | 1.992%
Funky Republic ti7000 | 7 | 560 | 80 | 80 | 0.7143% | 1.311% | -0.3571% | 1.449% | 6.789% | 2.411% | 6.789% | 2.411%
Fzzybar X20000 | 5 | 530 | 30 | 140 | 7.547% | 12.52% | -7.547% | 12.52% | 6.862% | 7.627% | -0.4724% | 12.97%
Geek Bar Pulse | 5 | 400 | 80 | 80 | 0.75% | 1.388% | 0.75% | 1.388% | 4.393% | 0.7203% | 4.393% | 0.7203%
Hyde IQ5000 | 8 | 536 | 16 | 80 | 6.157% | 5.701% | -5.784% | 6.059% | 11.49% | 7.043% | -9.766% | 9.076%
Hyde N-bar | 3 | 240 | 80 | 80 | 1.667% | 7.171% | -1.667% | 7.171% | 8.956% | 9.379% | 5.877% | 22.6%
Hyde Rebel | 5 | 275 | 35 | 80 | 2.182% | 2.86% | -1.455% | 3.648% | 3.68% | 2.968% | 3.68% | 2.968%
Juul | 3 | 185 | 25 | 80 | 0% | 0% | 0% | 0% | 0.7358% | 1.713% | -0.7358% | 1.713%
Kangvape Speedy Beast X | 9 | 360 | 40 | 40 | 1.389% | 2.562% | -0.8333% | 2.718% | 3.305% | 3.521% | -1.635% | 4.228%
Lost Angel Sphere 35K | 6 | 480 | 80 | 80 | 0% | 0% | 0% | 0% | 2.863% | 0.1482% | 2.863% | 0.1482%
Lost Mary MT15000 | 6 | 455 | 55 | 80 | 2.637% | 1.561% | -1.319% | 2.91% | 2.586% | 2.101% | 2.258% | 2.546%
Mr Fog Aura | 11 | 1049 | 39 | 200 | 5.338% | 6.745% | -3.432% | 7.132% | 10.81% | 6.592% | 2.029% | 8.764%
MR Fog Nova | 25 | 1000 | 40 | 40 | 0.6% | 0.5395% | 0.4% | 0.5715% | 8.308% | 0.8124% | 8.308% | 0.8124%
Njoy Ace | 1 | 80 | 80 | 80 | 0% | N/A (n=1) | 0% | N/A | 18.9% | N/A (n=1) | 18.9% | N/A
North 5000 Disposable | 6 | 240 | 40 | 40 | 0% | 0% | 0% | 0% | 7.28% | 0.6853% | 7.28% | 0.6853%
Offstamp SW 9000 | 15 | 600 | 40 | 40 | 0.6667% | 0.8218% | 0.6667% | 0.8218% | 8.474% | 0.9089% | 8.474% | 0.9089%
Offstamp X cube | 6 | 330 | 40 | 70 | 11.21% | 8.993% | -11.21% | 8.993% | 14.66% | 7.911% | -11.06% | 12.7%
RAZ DC25000 | 7 | 502 | 22 | 80 | 1.394% | 2.291% | -0.996% | 2.519% | 3.982% | 1.176% | 3.305% | 2.628%
Tyson Heavyweight | 15 | 600 | 40 | 40 | 1.167% | 0.7149% | 0.1667% | 0.9743% | 8.407% | 0.9329% | 8.407% | 0.9329%
Viho TRX 50k | 8 | 826 | 40 | 176 | 0.9685% | 1.414% | -0.9685% | 1.414% | 6.38% | 1.484% | 6.38% | 1.484%
Fogger Switch Pro | 4 | 400 | 100 | 100 | 35% | 58.51% | -35% | 58.51% | 33.55% | 60.01% | -33.55% | 60.01%
Juul 2 | 3 | 240 | 80 | 80 | 99.58% | 1.793% | -99.58% | 1.793% | 99.94% | 0.2409% | -99.94% | 0.2409%
KangerTech SUBOX | 5 | 650 | 120 | 140 | 76.92% | 5.279% | -76.92% | 5.279% | 80.24% | 11.53% | -80.24% | 11.53%
LostMary OS5000 | 7 | 560 | 80 | 80 | 41.79% | 15.76% | -41.79% | 15.76% | 53.09% | 22.34% | -53.09% | 22.34%
Method: Cochran ratio estimator, sessions as clusters
For vape v with sessions j = 1..n: x_j = delivered puffs (or delivered puff time), u_j = ¦counted - delivered¦.
Point estimate R = Σ u_j / Σ x_j (puff-weighted mean absolute relative error, WMAPE)
Variance v(R) = n * Σ (u_j - R*x_j)^2 / [ (n-1) * (Σ x_j)^2 ]
95% CI R ± t(0.975, n-1) * SQRT(v(R))
This weights each session by its own size, makes no distributional assumption about within-session errors, and is robust to correlation of errors within a session. It is the standard survey-sampling variance for a ratio of totals (Cochran 1977, Sampling Techniques, 3rd ed., Sec. 6.3).
Assumptions and limitations
a) Sessions within a vape are treated as independent replicate clusters. If sessions were run back-to-back on one coil, this is optimistic (coil ageing induces between-session drift that is not exchangeable).
b) n = 1 (Njoy Ace) admits no session-level variance estimate; K/N return "N/A (n=1)". A puff-level Wilson score interval on the detection rate (80/80 detected -> 95.4%-100%) is the only alternative, but see (c).
c) ¦RE¦ is not scale-invariant across sessions of different length. If detection errors were independent across puffs, E¦RE¦ would fall as 1/sqrt(session length); if errors are systematic, E¦RE¦ is constant. In this dataset errors are dominated by systematic undercounting, so weighting by x_j is appropriate - but this should be stated, and the signed bias columns (K, Q) reported alongside as the Bland-Altman bias term.

## All Data
Vape | Puff Session | Number of Puffs | Actual Puff Time (s) | Total Puff Time (s) | Interpuff Time (s) | Puff Volume (mL) | Puff Flow Rate (mL/s) | Puffs Counted | Recorded Puff Time (s) | Puff Count RE (per session) | Puff Time RE (per session)
Elf Bar BC5000 | 1 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 238.7464 | 0 | 0.0052233
| 2 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 244.4862 | 0 | 0.018692
| 3 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 250.0572 | 0 | 0.041905
| 4 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 249.418 | 0 | 0.039242
| 5 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 248.3032 | 0 | 0.034597
| 6 | 48 | 3 | 144 | 18 | 120 | 40 | 48 | 149.2471 | 0 | 0.036438
| Overall | 448 | - | 1344 | - | - | - | 448 | 1380.2581
Geek Bar Pulse | 1 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 249.9346 | 0 | 0.041394
| 2 | 80 | 3 | 240 | 18 | 120 | 40 | 82 | 252.4966 | 0.025 | 0.052069
| 3 | 80 | 3 | 240 | 18 | 120 | 40 | 81 | 251.0437 | 0.0125 | 0.046015
| 4 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 250.5128 | 0 | 0.043803
| 5 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 248.7225 | 0 | 0.036344
| Overall | 400 | - | 1200 | - | - | - | 403 | 1252.7102
RAZ DC25000 | 1 | 80 | 3 | 240 | 18 | 120 | 40 | 81 | 253.9351 | 0.0125 | 0.058063
| 2 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 250.8108 | 0 | 0.045045
| 3 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 250.3718 | 0 | 0.043216
| 4 | 80 | 3 | 240 | 18 | 120 | 40 | 79 | 247.8016 | 0.0125 | 0.032507
| 5 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 249.9447 | 0 | 0.041436
| 6 | 80 | 3 | 240 | 18 | 120 | 40 | 75 | 234.9017 | 0.0625 | 0.021243
| 7 | 22 | 3 | 66 | 18 | 120 | 40 | 22 | 68.0078 | 0 | 0.030421
| Overall | 502 | - | 1506 | - | - | - | 497 | 1555.7735
Lost Mary MT15000 | 1 | 80 | 3 | 240 | 18 | 120 | 40 | 79 | 242.5057 | 0.0125 | 0.01044
| 2 | 80 | 3 | 240 | 18 | 120 | 40 | 78 | 244.0737 | 0.025 | 0.016974
| 3 | 80 | 3 | 240 | 18 | 120 | 40 | 81 | 250.9333 | 0.0125 | 0.045555
| 4 | 80 | 3 | 240 | 18 | 120 | 40 | 76 | 237.7629 | 0.05 | 0.0093212
| 5 | 80 | 3 | 240 | 18 | 120 | 40 | 78 | 244.5904 | 0.025 | 0.019127
| 6 | 55 | 3 | 165 | 18 | 120 | 40 | 57 | 175.9554 | 0.036364 | 0.066396
| Overall | 455 | - | 1365 | - | - | - | 449 | 1395.8214
Funky Republic ti7000 | 1 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 250.7872 | 0 | 0.044947
| 2 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 254.519 | 0 | 0.060496
| 3 | 80 | 3 | 240 | 18 | 120 | 40 | 77 | 245.8975 | 0.0375 | 0.024573
| 4 | 80 | 3 | 240 | 18 | 120 | 40 | 81 | 261.9976 | 0.0125 | 0.091657
| 5 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 261.9183 | 0 | 0.091326
| 6 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 261.5835 | 0 | 0.089931
| 7 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 257.3476 | 0 | 0.072282
| Overall | 560 | - | 1680 | - | - | - | 558 | 1794.0507
Breeze Pro | 1 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 249.3192 | 0 | 0.03883
| 2 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 248.4511 | 0 | 0.035213
| 3 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 249.44 | 0 | 0.039333
| 4 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 250.2273 | 0 | 0.042614
| 5 | 80 | 3 | 240 | 18 | 120 | 40 | 77 | 243.5927 | 0.0375 | 0.01497
| Overall | 400 | - | 1200 | - | - | - | 397 | 1241.0303
Nord 2 | 1 | 30 | 3 | 87.06 | 18 | - | - | 30 | 85.0256
| Overall | 30 | - | 87.06 | - | - | - | 30 | 85.0256
Lost Angel Sphere 35K | 1 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 247.2653 | 0 | 0.030272
| 2 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 246.96 | 0 | 0.029
| 3 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 246.7951 | 0 | 0.028313
| 4 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 247.0036 | 0 | 0.029182
| 5 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 246.2537 | 0 | 0.026057
| 6 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 246.9526 | 0 | 0.028969
| Overall | 480 | - | 1440 | - | - | - | 480 | 1481.2303
Juul | 1 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 237.0756 | 0 | 0.012185
| 2 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 239.6019 | 0 | 0.0016587
| 3 | 25 | 3 | 75 | 18 | 120 | 40 | 25 | 74.2389 | 0 | 0.010148
| Overall | 185 | - | 555 | - | - | - | 185 | 550.9164
Njoy Ace | 1 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 285.3583
| Overall | 80 | - | 240 | - | - | - | 80 | 285.3583
Logic Pro | 1 | 30 | 3 | 94.6828 | 18 | - | - | 30 | 87.3248
| Overall | 30 | - | 94.6828 | - | - | - | 30 | 87.3248
Adjust Myflavor | 1 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 130.3667 | 0 | 0.086389
| 2 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 130.3418 | 0 | 0.086182
| 3 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 130.648 | 0 | 0.088733
| 4 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 131.5078 | 0 | 0.095898
| 5 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 128.0169 | 0 | 0.066807
| 6 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 130.9131 | 0 | 0.090942
| 7 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 130.8764 | 0 | 0.090637
| 8 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 130.8097 | 0 | 0.090081
| 9 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 131.7166 | 0 | 0.097638
| 10 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 131.2452 | 0 | 0.09371
| 11 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 131.1722 | 0 | 0.093102
| Overall | 440 | - | 1320 | - | - | - | 440 | 1437.6144
Artery CL6 | 1 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.4749 | 0 | 0.078957
| 2 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 260.7989 | 0 | 0.086662
| 3 | 16 | 3 | 48 | 18 | 120 | 40 | 12 | 38.5496 | 0.25 | 0.19688
| 4 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 263.7534 | 0 | 0.098972
| 5 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.3647 | 0 | 0.078039
| 6 | 37 | 3 | 111 | 18 | 120 | 40 | 21 | 67.044 | 0.43243 | 0.396
| 7 | 140 | 3 | 420 | 18 | 120 | 40 | 130 | 422.6617 | 0.071429 | 0.0063374
| Overall | 433 | - | 1299 | - | - | - | 403 | 1311.6472
EBCreate BC 5000 | 1 | 100 | 3 | 300 | 18 | 120 | 40 | 100 | 304.5612 | 0 | 0.015204
| 2 | 100 | 3 | 300 | 18 | 120 | 40 | 100 | 305.0452 | 0 | 0.016817
| 3 | 100 | 3 | 300 | 18 | 120 | 40 | 99 | 302.2399 | 0.01 | 0.0074663
| 4 | 80 | 3 | 240 | 18 | 120 | 40 | 79 | 241.0387 | 0.0125 | 0.0043279
| 5 | 70 | 3 | 210 | 18 | 120 | 40 | 68 | 205.4145 | 0.028571 | 0.021836
| Overall | 450 | - | 1350 | - | - | - | 446 | 1358.2995
Fzzybar X20000 | 1 | 130 | 3 | 390 | 18 | 120 | 40 | 129 | 416.1451 | 0.0076923 | 0.067039
| 2 | 100 | 3 | 300 | 18 | 120 | 40 | 93 | 300.3535 | 0.07 | 0.0011783
| 3 | 30 | 3 | 90 | 18 | 120 | 40 | 30 | 96.4904 | 0 | 0.072116
| 4 | 140 | 3 | 420 | 18 | 120 | 40 | 136 | 437.8052 | 0.028571 | 0.042393
| 5 | 130 | 3 | 390 | 18 | 120 | 40 | 102 | 331.6947 | 0.21538 | 0.1495
| Overall | 530 | - | 1590 | - | - | - | 490 | 1582.4889
Hyde IQ5000 | 1 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 248.9808 | 0 | 0.03742
| 2 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 217.4221 | 0 | 0.094075
| 3 | 80 | 3 | 240 | 18 | 120 | 40 | 67 | 192.0866 | 0.1625 | 0.19964
| 4 | 80 | 3 | 240 | 18 | 120 | 40 | 72 | 204.1822 | 0.1 | 0.14924
| 6 | 16 | 3 | 48 | 18 | 120 | 40 | 16 | 40.5957 | 0 | 0.15426
| 7 | 70 | 3 | 210 | 18 | 120 | 40 | 64 | 193.9469 | 0.085714 | 0.076443
| 8 | 80 | 3 | 240 | 18 | 120 | 40 | 81 | 244.8702 | 0.0125 | 0.020293
| 9 | 50 | 3 | 150 | 18 | 120 | 40 | 45 | 108.8794 | 0.1 | 0.27414
| Overall | 536 | - | 1608 | - | - | - | 505 | 1450.9639
Hyde N-bar | 1 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 267.6167 | 0 | 0.11507
| 2 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 265.7834 | 0 | 0.10743
| 3 | 80 | 3 | 240 | 18 | 120 | 40 | 76 | 228.9134 | 0.05 | 0.046194
| Overall | 240 | - | 720 | - | - | - | 236 | 762.3135
Hyde REBEL | 1 | 80 | 3 | 240 | 18 | 120 | 40 | 81 | 249.6478 | 0.0125 | 0.040199
| 2 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 244.9321 | 0 | 0.02055
| 3 | 40 | 3 | 120 | 18 | 120 | 40 | 39 | 120.0784 | 0.025 | 0.00065333
| 4 | 40 | 3 | 120 | 18 | 120 | 40 | 38 | 128.0449 | 0.05 | 0.067041
| 5 | 35 | 3 | 105 | 18 | 120 | 40 | 33 | 112.6533 | 0.057143 | 0.072889
| Overall | 275 | - | 825 | - | - | - | 271 | 855.3565
Kangvape Speedy Beast X | 1 | 40 | 3 | 120 | 18 | 120 | 40 | 36 | 108.9191 | 0.1 | 0.092341
| 2 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 104.4049 | 0 | 0.12996
| 3 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 120.853 | 0 | 0.0071083
| 4 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 120.8495 | 0 | 0.0070792
| 5 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 120.6962 | 0 | 0.0058017
| 6 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 121.2251 | 0 | 0.010209
| 7 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 120.5273 | 0 | 0.0043942
| 8 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 121.519 | 0 | 0.012658
| 9 | 40 | 3 | 120 | 18 | 120 | 40 | 41 | 123.3435 | 0.025 | 0.027863
| Overall | 360 | - | 1080 | - | - | - | 357 | 1062.3376
Mr Fog Aura | 1 | 39 | 3 | 117 | 18 | 120 | 40 | 30 | 96.4425 | 0.23077 | 0.17571
| 2 | 40 | 3 | 120 | 18 | 120 | 40 | 14 | 29.4417 | 0.65 | 0.75465
| 3 | 40 | 3 | 120 | 18 | 120 | 40 | 41 | 124.4651 | 0.025 | 0.037209
| 4 | 40 | 3 | 120 | 18 | 120 | 40 | 36 | 113.2754 | 0.1 | 0.056038
| 5 | 40 | 3 | 120 | 18 | 120 | 40 | 41 | 132.7363 | 0.025 | 0.10614
| 6 | 160 | 3 | 480 | 18 | 120 | 40 | 159 | 512.8645 | 0.00625 | 0.068468
| 7 | 40 | 3 | 120 | 18 | 120 | 40 | 34 | 99.7351 | 0.15 | 0.16887
| 8 | 200 | 3 | 600 | 18 | 120 | 40 | 200 | 638.1393 | 0 | 0.063566
| 9 | 200 | 3 | 600 | 18 | 120 | 40 | 207 | 654.0942 | 0.035 | 0.090157
| 10 | 190 | 3 | 570 | 18 | 120 | 40 | 191 | 610.5276 | 0.0052632 | 0.071101
| 11 | 60 | 3 | 180 | 18 | 120 | 40 | 60 | 199.1225 | 0 | 0.10624
| Overall | 1049 | - | 3147 | - | - | - | 1013 | 3210.8442
MR Fog Nova | 1 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 128.8517 | 0 | 0.073764
| 2 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 131.687 | 0 | 0.097392
| 3 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.8516 | 0 | 0.082097
| 4 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 130.7159 | 0 | 0.089299
| 5 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 132.1853 | 0 | 0.10154
| 6 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 131.5598 | 0 | 0.096332
| 7 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.3144 | 0 | 0.07762
| 8 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 122.0562 | 0 | 0.017135
| 9 | 40 | 3 | 120 | 18 | 120 | 40 | 41 | 131.4685 | 0.025 | 0.095571
| 10 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.9673 | 0 | 0.083061
| 11 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 130.2103 | 0 | 0.085086
| 12 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.744 | 0 | 0.0812
| 13 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 131.1165 | 0 | 0.092638
| 14 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 124.9706 | 0 | 0.041422
| 15 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 131.394 | 0 | 0.09495
| 16 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 131.0166 | 0 | 0.091805
| 17 | 40 | 3 | 120 | 18 | 120 | 40 | 41 | 132.8421 | 0.025 | 0.10702
| 18 | 40 | 3 | 120 | 18 | 120 | 40 | 42 | 133.2645 | 0.05 | 0.11054
| 19 | 40 | 3 | 120 | 18 | 120 | 40 | 39 | 127.5121 | 0.025 | 0.062601
| 20 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.6283 | 0 | 0.080236
| 21 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.2453 | 0 | 0.077044
| 22 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.9063 | 0 | 0.082552
| 23 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.8921 | 0 | 0.082434
| 24 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.8616 | 0 | 0.08218
| 25 | 40 | 3 | 120 | 18 | 120 | 40 | 41 | 130.9733 | 0.025 | 0.091444
| Overall | 1000 | - | 3000 | - | - | - | 1004 | 3249.2353
North 5000 Disposable | 1 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 128.6867 | 0 | 0.072389
| 2 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.147 | 0 | 0.076225
| 3 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.8414 | 0 | 0.082012
| 4 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.0301 | 0 | 0.075251
| 5 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 127.7064 | 0 | 0.06422
| 6 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 128.0079 | 0 | 0.066733
| Overall | 240 | - | 720 | - | - | - | 240 | 772.4195
Offstamp SW 9000 | 1 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 126.7972 | 0 | 0.056643
| 2 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 127.1815 | 0 | 0.059846
| 3 | 40 | 3 | 120 | 18 | 120 | 40 | 42 | 134.522 | 0.05 | 0.12102
| 4 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 130.1859 | 0 | 0.084883
| 5 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 131.1643 | 0 | 0.093036
| 6 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 132.0304 | 0 | 0.10025
| 7 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 130.5487 | 0 | 0.087906
| 8 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 128.2062 | 0 | 0.068385
| 9 | 40 | 3 | 120 | 18 | 120 | 40 | 41 | 129.4842 | 0.025 | 0.079035
| 10 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.2707 | 0 | 0.077256
| 11 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 131.4285 | 0 | 0.095238
| 12 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 128.903 | 0 | 0.074192
| 13 | 40 | 3 | 120 | 18 | 120 | 40 | 41 | 131.1328 | 0.025 | 0.092773
| 14 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 130.4423 | 0 | 0.087019
| 15 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 131.2348 | 0 | 0.093623
| Overall | 600 | - | 1800 | - | - | - | 604 | 1952.5325
Tyson Heavyweight | 1 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.4886 | 0 | 0.079072
| 2 | 40 | 3 | 120 | 18 | 120 | 40 | 41 | 129.5724 | 0.025 | 0.07977
| 3 | 40 | 3 | 120 | 18 | 120 | 40 | 39 | 126.7116 | 0.025 | 0.05593
| 4 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 130.0612 | 0 | 0.083843
| 5 | 40 | 3 | 120 | 18 | 120 | 40 | 39 | 126.8539 | 0.025 | 0.057116
| 6 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.7779 | 0 | 0.081482
| 7 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 127.7146 | 0 | 0.064288
| 8 | 40 | 3 | 120 | 18 | 120 | 40 | 41 | 132.9579 | 0.025 | 0.10798
| 9 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 130.7734 | 0 | 0.089778
| 10 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 132.3587 | 0 | 0.10299
| 11 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 130.459 | 0 | 0.087158
| 12 | 40 | 3 | 120 | 18 | 120 | 40 | 41 | 131.6567 | 0.025 | 0.097139
| 13 | 40 | 3 | 120 | 18 | 120 | 40 | 39 | 128.3914 | 0.025 | 0.069928
| 14 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 132.0504 | 0 | 0.10042
| 15 | 40 | 3 | 120 | 18 | 120 | 40 | 41 | 132.4967 | 0.025 | 0.10414
| Overall | 600 | - | 1800 | - | - | - | 601 | 1951.3244
Viho TRX 50k | 1 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.6214 | 0 | 0.080178
| 2 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 259.5422 | 0 | 0.081426
| 3 | 80 | 3 | 240 | 18 | 120 | 40 | 80 | 258.3287 | 0 | 0.07637
| 4 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 126.9435 | 0 | 0.057863
| 5 | 160 | 3 | 480 | 18 | 120 | 40 | 160 | 512.2895 | 0 | 0.06727
| 6 | 160 | 3 | 480 | 18 | 120 | 40 | 159 | 514.5016 | 0.00625 | 0.071878
| 7 | 90 | 3 | 270 | 18 | 120 | 40 | 85 | 274.5489 | 0.055556 | 0.016848
| 8 | 176 | 3 | 528 | 18 | 120 | 40 | 174 | 560.3296 | 0.011364 | 0.06123
| Overall | 826 | - | 2478 | - | - | - | 818 | 2636.1054
Fogger Switch Pro | 1 | 100 | 3 | 300 | 18 | 120 | 40 | 97 | 299.0495 | 0.03 | 0.0031683
| 2 | 100 | 3 | 300 | 18 | 120 | 40 | 67 | 204.9101 | 0.33 | 0.31697
| 3 | 100 | 3 | 300 | 18 | 120 | 40 | 83 | 253.6615 | 0.17 | 0.15446
| 4 | 100 | 3 | 300 | 18 | 120 | 40 | 13 | 39.7334 | 0.87 | 0.86756
| Overall | 400 | - | 1200 | - | - | - | 260 | 797.3545
Juul 2 | 1 | 80 | 3 | 240 | 18 | 120 | 40 | 1 | 0.4032 | 0.9875 | 0.99832
| 2 | 80 | 3 | 240 | 18 | 120 | 40 | 0 | 0 | 1 | 1
| 3 | 80 | 3 | 240 | 18 | 120 | 40 | 0 | 0 | 1 | 1
| Overall | 240 | - | 720 | - | - | - | 1
KangerTech SUBOX | 1 | 140 | 3 | 420 | 18 | 120 | 40 | 23 | 18.7398 | 0.83571 | 0.95538
| 2 | 120 | 3 | 360 | 18 | 120 | 40 | 32 | 90.494 | 0.73333 | 0.74863
| 3 | 130 | 3 | 390 | 18 | 120 | 40 | 30 | 88.5408 | 0.76923 | 0.77297
| 4 | 130 | 3 | 390 | 18 | 120 | 40 | 34 | 98.6325 | 0.73846 | 0.7471
| 5 | 130 | 3 | 390 | 18 | 120 | 40 | 31 | 88.9887 | 0.76154 | 0.77182
| Overall | 650 | - | 1950 | - | - | - | 150
LostMary OS5000 | 1 | 80 | 3 | 240 | 18 | 120 | 40 | 21 | 17.2341 | 0.7375 | 0.92819
| 2 | 80 | 3 | 240 | 18 | 120 | 40 | 53 | 134.1445 | 0.3375 | 0.44106
| 3 | 80 | 3 | 240 | 18 | 120 | 40 | 53 | 142.3407 | 0.3375 | 0.40691
| 4 | 80 | 3 | 240 | 18 | 120 | 40 | 55 | 148.405 | 0.3125 | 0.38165
| 5 | 80 | 3 | 240 | 18 | 120 | 40 | 34 | 40.4091 | 0.575 | 0.83163
| 6 | 80 | 3 | 240 | 18 | 120 | 40 | 57 | 151.642 | 0.2875 | 0.36816
| 7 | 80 | 3 | 240 | 18 | 120 | 40 | 53 | 153.8921 | 0.3375 | 0.35878
| Overall | 560 | - | 1680 | - | - | - | 326 | 788.0675
Offstamp X cube | 1 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 128.7469 | 0 | 0.072891
| 2 | 40 | 3 | 120 | 18 | 120 | 40 | 40 | 129.0558 | 0 | 0.075465
| 3 | 70 | 3 | 210 | 18 | 120 | 40 | 63 | 188.1083 | 0.1 | 0.10425
| 4 | 60 | 3 | 180 | 18 | 120 | 40 | 55 | 158.4368 | 0.083333 | 0.1198
| 5 | 60 | 3 | 180 | 18 | 120 | 40 | 48 | 142.4346 | 0.2 | 0.2087
| 6 | 60 | 3 | 180 | 18 | 120 | 40 | 47 | 133.7377 | 0.21667 | 0.25701
| Overall | 330 | - | 990 | - | - | - | 293 | 880.5201
Note on C1: Brett Fassler: Each puff session entails 80 puffs followed by a recharge. The final test may have less than 80 puffs if the vape died completely during the test.
Note on C2: Brett Fassler: Each puff session entails 80 puffs followed by a recharge. The final test may have less than 80 puffs if the vape died completely during the test.