## Threshold_Sensitivity
Threshold (s) | TP | FN | FP | Precision | Precision 95% CI lower (BCa) | Precision 95% CI upper (BCa) | Recall | Recall 95% CI lower (BCa) | Recall 95% CI upper (BCa) | F1 | F1 95% CI lower (BCa) | F1 95% CI upper (BCa)
0 | 804 | 62 | 116 | 0.8739 | 0.7582 | 0.9488 | 0.9284 | 0.8219 | 0.9775 | 0.9003 | 0.8224 | 0.9498
0.2 | 803 | 63 | 116 | 0.8738 | 0.758 | 0.9487 | 0.9273 | 0.8217 | 0.9765 | 0.8997 | 0.8219 | 0.9492
0.4 | 799 | 67 | 73 | 0.9163 | 0.8072 | 0.9635 | 0.9226 | 0.8153 | 0.9756 | 0.9194 | 0.8414 | 0.9597
0.6 | 799 | 67 | 56 | 0.9345 | 0.8533 | 0.9734 | 0.9226 | 0.8153 | 0.9756 | 0.9285 | 0.8585 | 0.9657

## Method
Note
Script1_0.4sec_threshold_performance_metrics.py re-run once per threshold in [0.0, 0.2, 0.4, 0.6], pooling TP/FN/FP across all 22 participants at each threshold, unmodified otherwise. 0.0 s effectively applies no filter (Script1 keeps puffs with duration > threshold).
Each threshold's Precision/Recall/F1 has a 95% BCa (bias-corrected and accelerated) bootstrap CI: resample the 22 participants with replacement, sum their TP/FN/FP, recompute the pooled ratio, across 10,000 replicates (seed=12345), with a leave-one-participant-out jackknife correction for bias and skew -- the identical method used for the pooled CI at the 0.4 s production threshold elsewhere in this pipeline, and matching the bench-testing coauthor's device_bootstrap.py.
Reuses Script1_0.4sec_threshold_performance_metrics.py (imported unmodified) -- not read from any intermediate spreadsheet.